## Parameters
No. | Module | Parameter | ParaType | DisplayType | Description | FunctionCode | StartAddress | DataType | Reg_Bits | Reg_BitsNum | Scalefac | Scaleoff | Endian | Unit | Comment | DefaultValue
0 | BatB | 0_U | RunStatus | line | BatB_U | [8 empty] | V
1 | BatB | 0_I | RunStatus | line | BatB_I | [8 empty] | A
2 | BatB | 0_P | RunStatus | line | BatB_P | [8 empty] | kW | Current Sys P
3 | BatB | 0_Q | RunStatus | line | BatB_Q | [8 empty] | kVar | Current Sys Q | 0
4 | BatB | 0_Switch | RunStatus | num | BatB_Switch
5 | FR | 1_U | RunStatus | line | FR_U | [8 empty] | V | ESI_Acvoltage
6 | FR | 1_I | RunStatus | line | FR_I | [8 empty] | A | ESI_Accurrent
7 | FR | 1_P | RunStatus | line | FR_P | [8 empty] | kW | ESI_realpoweroutput
8 | FR | 1_Q | RunStatus | line | FR_Q | [8 empty] | kVar | ESI_reactivepoweroutput
9 | FR | 1_Switch | RunStatus | num | FR_Switch
10 | HeadSwitch | 2_U | RunStatus | line | HeadSwitch_U | [8 empty] | V
11 | HeadSwitch | 2_I | RunStatus | line | HeadSwitch_I | [8 empty] | A
12 | HeadSwitch | 2_P | RunStatus | line | HeadSwitch_P | [8 empty] | kW
13 | HeadSwitch | 2_Q | RunStatus | line | HeadSwitch_Q | [8 empty] | kVar
14 | HeadSwitch | 2_Switch | RunStatus | num | HeadSwitch_Switch
15 | TF1Prime | 3_U | RunStatus | line | TF1Prime_U | [8 empty] | V
16 | TF1Prime | 3_I | RunStatus | line | TF1Prime_I | [8 empty] | A
17 | TF1Prime | 3_P | RunStatus | line | TF1Prime_P | [8 empty] | kW
18 | TF1Prime | 3_Q | RunStatus | line | TF1Prime_Q | [8 empty] | kVar
19 | TF1Prime | 3_Switch | RunStatus | num | TF1Prime_Switch
20 | TF2Prime | 4_U | RunStatus | line | TF2Prime_U | [8 empty] | V
21 | TF2Prime | 4_I | RunStatus | line | TF2Prime_I | [8 empty] | A
22 | TF2Prime | 4_P | RunStatus | line | TF2Prime_P | [8 empty] | kW
23 | TF2Prime | 4_Q | RunStatus | line | TF2Prime_Q | [8 empty] | kVar
24 | TF2Prime | 4_Switch | RunStatus | num | TF2Prime_Switch
25 | TF1Secondary | 5_U | RunStatus | line | TF1Secondary_U | [8 empty] | V
26 | TF1Secondary | 5_I | RunStatus | line | TF1Secondary_I | [8 empty] | A
27 | TF1Secondary | 5_P | RunStatus | line | TF1Secondary_P | [8 empty] | kW
28 | TF1Secondary | 5_Q | RunStatus | line | TF1Secondary_Q | [8 empty] | kVar
29 | TF1Secondary | 5_Switch | RunStatus | num | TF1Secondary_Switch | [8 empty] | kVar
30 | TF2Secondary | 6_U | RunStatus | line | TF2Secondary_U | [8 empty] | V
31 | TF2Secondary | 6_I | RunStatus | line | TF2Secondary_I | [8 empty] | A
32 | TF2Secondary | 6_P | RunStatus | line | TF2Secondary_P | [8 empty] | kW
33 | TF2Secondary | 6_Q | RunStatus | line | TF2Secondary_Q | [8 empty] | kVar
34 | TF2Secondary | 6_Switch | RunStatus | num | TF2Secondary_Switch
35 | BaA | 7_U | RunStatus | line | BaA_U | [8 empty] | V
36 | BaA | 7_I | RunStatus | line | BaA_I | [8 empty] | A
37 | BaA | 7_P | RunStatus | line | BaA_P | [8 empty] | kW | Current Sys P
38 | BaA | 7_Q | RunStatus | line | BaA_Q | [8 empty] | kVar | Current Sys Q | 0
39 | BaA | 7_Switch | RunStatus | num | BaA_Switch
40 | PEM_GEN | 8_U | RunStatus | line | PEM_GEN_U | [8 empty] | V
41 | PEM_GEN | 8_I | RunStatus | line | PEM_GEN_I | [8 empty] | A
42 | PEM_GEN | 8_P | RunStatus | line | PEM_GEN_P | [8 empty] | kW
43 | PEM_GEN | 8_Q | RunStatus | line | PEM_GEN_Q | [8 empty] | kVar
44 | PEM_GEN | 8_Swicth | RunStatus | num | PEM_GEN_Switch
45 | PEM_USE | 9_U | RunStatus | line | PEM_USE_U | [8 empty] | V
46 | PEM_USE | 9_I | RunStatus | line | PEM_USE_I | [8 empty] | A
47 | PEM_USE | 9_P | RunStatus | line | PEM_USE_P | [8 empty] | kW | battery_power
48 | PEM_USE | 9_Q | RunStatus | line | PEM_USE_Q | [8 empty] | kVar
49 | PEM_USE | 9_Switcth | RunStatus | num | PEM_USE_Switch
50 | Wind | 10_U | RunStatus | line | Wind_U | [8 empty] | V | m2_busbar_voltage
51 | Wind | 10_I | RunStatus | line | Wind_I | [8 empty] | A
52 | Wind | 10_P | RunStatus | line | Wind_P | [8 empty] | kW | m2_output_p
53 | Wind | 10_Q | RunStatus | line | Wind_Q | [8 empty] | kVar |  | 0
54 | Wind | 10_Switch | RunStatus | num | Wind_Switch
55 | Flow | 11_U | RunStatus | line | Flow_U | [8 empty] | V | Custom
56 | Flow | 11_I | RunStatus | line | Flow_I | [8 empty] | A | Custom
57 | Flow | 11_P | RunStatus | line | Flow_P | [8 empty] | kW | battery_power
58 | Flow | 11_Q | RunStatus | line | Flow_Q | [8 empty] | kVar | Custom
59 | Flow | 11_Switch | RunStatus | num | Flow_Switch
60 | SOC_Gen | 12_U | RunStatus | line | SOC_Gen_U | [8 empty] | V
61 | SOC_Gen | 12_I | RunStatus | line | SOC_Gen_I | [8 empty] | A
62 | SOC_Gen | 12_P | RunStatus | line | SOC_Gen_P | [8 empty] | kW
63 | SOC_Gen | 12_Q | RunStatus | line | SOC_Gen_Q | [8 empty] | kVar
64 | SOC_Gen | 12_Switch | RunStatus | num | SOC_Gen_Switch
65 | SOC_USE | 13_U | RunStatus | line | SOC_USE_U | [8 empty] | V
66 | SOC_USE | 13_I | RunStatus | line | SOC_USE_I | [8 empty] | A
67 | SOC_USE | 13_P | RunStatus | line | SOC_USE_P | [8 empty] | kW
68 | SOC_USE | 13_Q | RunStatus | line | SOC_USE_Q | [8 empty] | kVar
69 | SOC_USE | 13_Switch | RunStatus | num | SOC_USE_Switch
70 | Solar | 14_U | RunStatus | line | Solar_U | [8 empty] | V | Uab/Ua |  | P/(3*Ua)
71 | Solar | 14_I | RunStatus | line | Solar_I | [8 empty] | A | Custom
72 | Solar | 14_P | RunStatus | line | Solar_P | [8 empty] | kW | Pac
73 | Solar | 14_Q | RunStatus | line | Solar_Q | [8 empty] | kVar | Qac
74 | Solar | 14_Switch | RunStatus | num | Solar_Switch

## ReadConfig
FunctionCode | StartAddress | Amount | Timeout
100_U | 101_U
100_I | 101_I
100_P | 101_P
100_Q | 101_Q
100_Switch | 101_Switch

## WriteConfig
No. | Module | Parameter | Description | FunctionCode | StartAddress | DataType | Comment | DefaultValue

## 设备逻辑参数列表
No. | Module | Parameter | Description | DataTag | DataFrom/To | Comment